Saving Images and Image Conversion – Light Microscope

Standard Operating Procedure

Last Edited: 10/5/2011

Summary:

Save images captured in Q Capture Pro and Image Pro Express as “.tif” files in C:\IpExp60\Images\Your Name.

Use Convert to take “.tif” file and change to “.jpeg” file to be put onto flash drive

Saving Images

Once you’ve taken an image of your sample, be sure to save the file using the correct file format!

1. Click File on the software toolbar and select Save As from the drop down menu.

2. Click My Computer and select Local Disk (C:).

3. Click IpExp60 to open the folder.

4. Click Images to open the folder.

Files MUST be saved in the C:\IpExp60\Images folder or they will not be able to be converted into jpegs using the imaging software.  Make sure you are saving your	images to the correct folder.

5. Create a New Folder with your name, then double click to open the folder.

6. Save the image using an appropriate sample name and magnification.

7. Click Save and the file will be saved as a “.tif” file, which can be converted later.

Image Conversion: From “.tif” to “.jpeg” format

All of the images are saved as “.tif” files and should be converted to “.jpeg” files since most computers are able to recognize and handle “.jpeg” formats.  If you wish to save your images directly to your USB flash drive, plug the drive into the computer before starting the following process.

1. Click File on the software toolbar and select Convert on the drop down menu.

2. A dialogue box will pop up.

The top box is the Source and is where the “.tif” file is currently saved.  The lower box is the Destination box and is where the “.jpeg” file will be saved.

3. Under the Source box, select “(C:)” from the drop down menu

5. Select and open the desired folder that contains the image you want to convert.

6. Find and select the appropriate files.  If you would like to convert all images within a single folder, select the folder.

7. Under the Destination box select your USB flash drive from the drop down menu or save the file in the same folder as the “.tif” file.

Make sure “.jpeg” is selected for File Format and Compression.

8. Click Convert to convert your “.tif” files into “.jpeg” files.

Check your USB drive to ensure the files were successfully converted and saved onto your device before quitting the Q Capture/ Image Pro.

9. Delete the original “.tif” files from the C: Drive.   Files will be periodically removed from the computers.