Document Author:

Document Location:

Revision History

|  |  |  |
| --- | --- | --- |
| Date: | By: | Action: |
|  |  |  |
|  |  |  |
|  |  |  |
|  |  |  |

**Purpose: Documentation on High Risk Enterprise computing devices and associated cooling and backup power guidelines. For information on classifying your systems, refer to the** [**Computing Device Standard**](http://afd.calpoly.edu/security/docs/standards/device.pdf)

**Audience:**

|  |
| --- |
| **Building : Room** |
| Rack Designator |
| Host Name | Device Model | Watts | VAC | BTUs |
|   |  |  |  |   |
|   |  |  |  |   |
|   |  |  |  |   |
|   |  |  |  |   |
|   |  |  |  |   |
|   | **Totals** | **0** | **0** | **0** |
| UPS Model | UPS Rated at | 1750 | 2200 |   |
|   | UPS 80% Rating | 1400 | 1760 |   |
|   |  | 1750 | 2200 |   |
|   |  | 1400 | 1760 |   |
|  |  |  |  |  |
| 3 ton | A/C Rated at |   |   | 36000 |
|  | A/C 80% Rating |   |   | 28800 |
|  |  Maximum Reserve |   |   | 36000 |
|  | Planning Reserve |   |   | 28800 |
|  |  |  |  |  |
| Electrical and BTU loads: |  |  |  |
| <http://www.apc.com/tools/ups_selector/index.cfm> Campus A/C systems maintained by Facility Servicesfacserv@calpoly.edu (805)756-2321 |  |  |